Using Artificial Sky Glow to Retrieve Night Time Aerosol Optical Depth
M. Aubé (a b c)
N. T. O'Neill (b) , J.-D. Gigière (b c) , A. Royer (b)
(a) Cégep de Sherbrooke, Québec, Canada , J1E 4K1;
(b) Université de Sherbrooke, Québec, Canada;
(c) Centre de Recherche en Astrophysique du Québec, Canada
Funding for this research was provided by the fond québécois pour la recherche sur la nature et les technologie (FQRNT) and by Éducation, loisirs et sports Québec.

---
Outline
Aerosol optical depth retrieval methods
Goal and basic idea
What is light pollution?
Important variables involved
Understanding by modelling
AOD sky glow relationship (modelled)
Light pollution detector
AOD sky glow relationship (observed)
First results
Ongoing and future works

---
Aerosol optical depht (AOD) retrieval methods
Sunlight based retrieval methods:
Sunphotometers networks (e.g. AERONET)
sparse data but good temporal sampling
Dark targets inversion on satellite images
 (e.g. sea surface, dense dark vegetation)
better spatial sampling but low temporal frequency

---
Retrieval during night time
Starphotometers
requires relatively dark sites
i.e. Not suitable for urban sites
Moon photometry
possible only 6 month/year
LIDAR
High cost system (difficulty to expand
     them in large networks)

---
Our goal
Our goal
Provide a new night time aerosol remote sensing method suitable for urban applications
Basic idea
Use artificial sky glow (light pollution) to estimate the aerosol content of the atmosphere

---
What is light pollution?
1) Artificial light is directed toward the sky
(directly or after ground reflexion)
2) A part of this light is scattered back toward the ground
(by molecules and aerosols)
Fuji 800 ASA, 90 seconds
Fuji 800 ASA, 30 seconds

---
Important variable involved
Source angular photometry
metal halide
High pressure sodium
Low pressure sodium
Source spectral dependance
Ground spectral reflectance
Atmospheric optical properties
Topography and obstacles (shadowing effects)

---
Using high level modelling to
understand AOD-Sky glow relationship
Maximum Scattering Radius
n
I2
The ILLUMINA model
m
I1
Ir2
s
o
Ir1
m
r
Maximum Reflexion Radius

---
ILLUMINA Model features
Heterogeneity of the environment
   (topography, ground reflectance, light sources geographical distribution)
Spectral dependance
Light source angular output pattern (horizontal isotropy is assumed)
Molecule and aerosol optics:
molecules -> scattering
aerosols -> scattering & absorption
molecules and aerosols extinction along the light path
Computation of shadows (including subgrid)
Up to 9 source types per horizontal cell
3D computation (1024 x 1024 x 50 levels)
Logarithmic vertical scale which allow a better simulation near light sources where atmospheric concentration and light intensity are higher

---
Modelled AOD-Sky glow relationship
AOD 550 nm
Sky brightness 550 nm
AOD 550 nm
Sky brightness 550 nm

---
Light pollution detector: SAND
   Features:
Web based control
2 nm resolution
F/2 optical head
Robotized mount
Heating
Ventilation
Webcam
Oper. To: -20 C to 55 C
Spectrometer
CCD camera
Webcam

---
Light pollution detector: SAND
Na
568 nm sodium line
Line spectrum and
Stellar continium
Integration box
Na
Hg
Hg
Na
Hg
Na
Na
Sc
Sc
Hg
Line spectrum only

---
Observed AOD-Sky glow relationship
AOD AERONET 500-675 nm
SAND Na 568 nm Sky glow

---
First results - march 2009
Day of year
AOD 568 nm

---
First results - march 2009
Day of year
AOD

---
First results - march 2009
Day of year
AOD

---
Ongoing and future works
Perform more AERONET – SAND comparison – validation
Especially for AOD > 0.1
Explore the effect of ground reflectance on this relationship
Particularly the winter/summer difference
Try to find an optimal observing direction for which Sky
glow is more sensitive to AOD
Implement a SAND network!

---
?